## Sheet1
Manufacturer | ModelNumber | Description | Cost | Selling
Control4 | C4-HC250-BL-1 | HC-250 Room Controller (No Remote) 1 GHz processor. HDMI audio and video (for on-screen navigator) output OR Component video (for on-screen navigator) output. 1 analog audio output, 1 analog audio input. 10/100 BaseT ethernet port. Integrated ZigBee and Wireless N with internal antennas. 1 USB port, 4 IR outputs (2 can be used as RS-232). 1 relay, 1 contact. IR receiver and blaster on the front. Includes one MyHome Site license and one Intercom license. | 450 | 750
Control4 | C4-HC800-BL-1 | HC-800 Controller (No Remote) 1.8 GHz dual core processor. HDMI audio and video (for on-screen navigator) output OR Component video (for on-screen navigator) output. 2 analog and 1 digital audio output, 1 analog audio input. 2 RS-232 outputs. 6 IR outputs. 1 eSATA port. 10/100/1000 BaseT ethernet port. Integrated ZigBee and Wireless N with internal antennas. 1 USB port. 4 relays, 4 contacts. IR receiver and blaster on the front. Includes one MyHome Site license and one Intercom license. | 900 | 1500
Control4 | C4-IOX-E-B | IO Extender Provides an additional 4 RS-232 ports, 8 IR outputs, 8 contacts and 8 relays to any controller. | 300 | 500
Control4 | C4-SR150B-Z-B | System Remote Control, SR-150 Enables on-screen navigator control. Combines several remotes into one. Single-button press to turn on A/V gear and start watching or listening to movies and music. | 64.5 | 129
Control4 | C4-SR250B-Z-B | System Remote Control, SR-250 Same features as SR-150 with added OLED backlit screen that displays the Control4 navigator in a text format. | 99.5 | 199
Control4 | C4-SR250RSK-B | SR-250 Remote and Recharging Station Includes both the SR-250 remote with rechargable battery and the charging station. Lithium-Polymer technology and an elegant charging station ensure the system remote is always ready with a fully charged battery. | 150 | 300
Control4 | C4-SR150RSK-B | SR-150 Remote and Recharging Station Includes both the SR-150 remote with rechargable battery and the charging station. Lithium-Polymer technology and an elegant charging station ensure the system remote is always ready with a fully charged battery. | 125 | 250
Control4 | C4-SR250RS-B | SR-250 Individual Recharging Station (includes battery and cover) | 65 | 130
Control4 | C4-SR150RS-B | SR-150 Individual Recharging Station (includes battery and cover) | 65 | 130
Control4 | C4-RBATT-250 | SR-250 Battery + Cover | 25 | 50
Control4 | C4-RBATT-150 | SR-150 Battery + Cover | 25 | 50
Control4 | C4-TSMC7-EN-BL | 7" Portable Touch Screen with Camera Tablet form-factor with docking/charging station. Full-color, capacitive LCD touch screen control with 4 hard programmable buttons. Integrated camera with full-motion video for video communications with Door Station with Camera and 7" In-Wall Touch Screen with Camera. Integrated speakers and dual microphones with beam forming and G.722 wideband audio for audio communication with all Control4 Touch Screens. Wired and wireless network connections through 802.11N, ZigBee and 10/100 Ethernet. AC power adapter, Power over Ethernet (PoE) or internal rechargeable battery power options. | 599.4 | 999
Control4 | C4-TW7C0-BL | 7" In-Wall Touch Screen with Camera - Black Full-color, in-wall capacitive LCD touch screen with 4 programmable soft buttons. Edge-to-edge glass and low-profile mounting. Integrated camera with full-motion video for video communications with Door Station with Camera and 7" Portable Touch Screen with Camera. Integrated speakers and dual microphones with beam forming and G.722 wideband audio for audio communication with all Control4 Touch Screens. Wired and wireless network connections through 10/100 Ethernet or Wifi. Power options include Power over Ethernet (PoE) or AC power. | 599.4 | 999
Control4 | C4-TW7C0-WH | 7" In-Wall Touch Screen with Camera - White Same features as above, but in white. | 599.4 | 999
Control4 | C4-TSWMC5-EG-BL | 5" Control4 In-Wall Touch Screen - Black Smaller form factor, priced affordably to allow a touch screen in every room. Full-color, in-wall capacitive LCD touch screen with 4 programmable soft buttons. Edge-to-edge glass and low-profile mounting. Integrated audio intercom functionality to provide whole-home communications between In-wall touchscreens. Wired and wireless network connections through 10/100 Ethernet or Wifi. Power options include Power over Ethernet (PoE) or AC power. | 419.4 | 699
Control4 | C4-TSWMC7-EG-BL | 7" Control4 In-Wall Touch Screen - Black Full-color, in-wall capacitive LCD touch screen with 4 programmable soft buttons. Edge-to-edge glass and low-profile mounting. Integrated audio intercom functionality to provide whole-home communications between In-wall touchscreens. Wired and wireless network connections through 10/100 Ethernet or Wifi. Power options include Power over Ethernet (PoE) or AC power. | 539.4 | 899
Control4 | C4-TSWMC7-EG-WH | 7" Control4 In-Wall Touch Screen - White Same features as above, but in white. | 539.4 | 899
Control4 | C4-DSC-EN-BL | Door Station with Camera - Satin Black Delivers H.264 Video Intercom Support when used with the 7" Portable Touch Screen with Camera or the 7" In-Wall Touch Screen with Camera. Integrated speakers and dual microphones with beam forming for audio communications with all Control4 Touch Screens. 2 contacts and 1 relay for control and monitoring of doors and gates. | 479.4 | 799
Control4 | C4-DSC-EN-SN | Door Station - Satin Nickel Same features as above, but in Satin Nickel. | 479.4 | 799
Control4 | C4-DSC-EN-VB | Door Station - Venetian Bronze Same features as above, but in Ventian Bronze. | 479.4 | 799
Control4 | C4-DSC-EN-INT | Interior Door Station with Camera Designed for placement in hallways and other interior spaces. Delivers H.264 Video Intercom Support when used with the 7" Portable Touch Screen with Camera or the 7" In-Wall Touch Screen with Camera. Integrated speakers and dual microphones with beam forming for audio communications with all Control4 Touch Screens. 2 contacts and 1 relay for control and monitoring of doors and gates. | 420 | 700
Control4 | C4-8AMP1-B | 4-Zone Matrix Amplifier 4 Zones/8 channels, 60W per channel. 4 analog inputs (2 which can be digital). Built-in audio switching, volume control and 5-band equalization. 10/100 BaseT ethernet network connectivity. | 717 | 1195
Control4 | C4-16AMP3-B | 8-Zone Matrix Amplifier 8 Zones/16 channels, 120W per channel. 8 analog inputs. Built-in audio switching, volume control and 5-band equalization. 10/100 BaseT ethernet network connectivity. | 1497 | 2495
Control4 | C4–AMP104 | 4-Zone Power Amplifier 4 Zones/8 channels, 45W per channel, 4 analog inputs/outputs, global line input/output and bridgeable amplifier outputs. | 550 | 1100
Control4 | C4–AMP108 | 8-Zone Power Amplifier 8 Zones/16 channels, 35W per channel, 8 analog inputs/outputs, global line input/output and bridgeable amplifier outputs. | 700 | 1400
Control4 | C4-16ZAMSV3-B | Audio Matrix Switch 16 input x 16 output analog audio matrix switch with wide dynamic range. Smooth volume ramping at 1/2 dB steps. Independent bass/treble tone controls for each stereo output/zone. Signal sensing stereo inputs. For use with Control4 amplifiers when more than eight audio sources and/or zones are required. 10/100 BaseT ethernet network connectivity with SDDP. | 750 | 1500
Control4 | C4-8x8HDMIVSW-B | 8x8 HDMI Matrix Switch Distribute 8 HDMI sources to 8 video display locations with full HD clarity. HDBaseT outputs transmit video, audio, Ethernet and control (IR & RS-232) over a single Cat-5e/6 cable up to 328 feet away. Two HDMI outputs for local video display connections. 10/100 BaseT ethernet network connectivity with SDDP. Requires HDBaseT Receiver (Sold separately). | 4140 | 6900
Control4 | C4-HDBTEB-B | HDBaseT Receiver Connects to the HDBaseT outputs of the 8x8 HDMI Matrix Switch. Serves as the breakout point for all video, audio, control and Ethernet at the video display. | 210 | 350
Control4 | C4-IPDKTT1-E-B | Dock For Ipod Multi-room access to an iPod's music and video library, including all playlists and cover art. Analog stereo audio output. Component and composite video outputs. 10/100 BaseT ethernet network connectivity. | 179.4 | 299
Control4 | AVE-RAA1-B | Ethernet Speaker Point Add an audio zone without the need to pull speaker wire through walls. Converts and amplifies digital audio streamed over the network by a Home Controller or other Speaker Point. Volume and audio controls are also achieved via network. Includes two speaker outputs, rated at 50W per channel, 1 stereo analog pre-amp output for use with an external amplifier and 1 stereo analog input for connection of a local audio source. 10/100 BaseT ethernet network connectivity. | 239.4 | 399
Control4 | AVG-RAA1-B | WiFi Speaker Point Same as Ethernet Speaker Point (listed above), but with added 802.11g Wi-Fi capability when a hardwired ethernet connection is not an option. | 269.4 | 449
Control4 | C4-TUN2-E-B | Multi-Tuner Broadcast up to three simultaneous audio streams, including two AM/FM and an optional XM satellite radio stream. XM satellite radio requires the C4-XMOD XM Module (below). | 360 | 599
Control4 | C4-XMOD | XM Module for Multi-Tuner Adds XM satellite radio option to the Multi-Tuner (above). Includes XM antenna. | 120 | 199
Control4 | C4-WMB-B | Wireless Music Bridge Wirelessly connect your smart phone, computer or tablet to the Control4 system to enjoy all your music stored or accessed on these devices. Compatible with AirPlay, DLNA and Bluetooth capable devices. Stereo analog and digital SPDIF outputs. | 180 | 300
Control4 | C4-DIN-8DIM-E | 8-Channel Dimmer Controls up to eight (8) loads from one module in the Control4 system. Adaptive phase dimming supports a variety of load types including incandescent, halogen, electronic low voltage transformers, magnetic low voltage transformers, flurescents, compact fluorescents, LEDs and motors. Automatically detects the load type and sets the appropriate dimming mode. | 600 | 1200
Control4 | C4-DIN-8REL-E | 8-Channel Relay Controls up to eight (8) high in-rush loads from one module in the Contro4 system. Each channel supports a variety of load types including Incandescent, Halogen, Electronic Low Voltage Transformers, Magnetic Low Voltage Transformers, Fluorescents, Compact Fluorescents, LEDs and Motors. | 425 | 850
Control4 | C4-DIN-8TV-E | 8-Channel 0-10V Dimmer Controls up to eight (8) 0-10V dimmable fluorescent ballasts or LEDs. Each channel can control up to 50 ballasts. Eight (8) low-voltage outputs for triggering external power relays. | 450 | 900
Control4 | C4-DIN-8ESW-E | 8-Port Ethernet Switch A standard 8-port 10/100 switch that allows a single Ethernet CAT5e cable to be pulled into a lighting panel, and then distributed to up to seven (7) other Control4 panelized lighting devices including Dimmer, Relay, and Bus Ethernet Bridge Modules within the panel. | 175 | 350
Control4 | C4-BPS48 | Bus Power Supply, 48V (Shipping early August) Provides power for US Configurable Wired Keypads only. Mounts in the Control4 5 or 2-slot panel separately from the DIN rail and does not occupy a slot space. | 75 | 150
Control4 | C4-DIN-BEG | Bus Ethernet Gateway (Shipping early August) Connection point for all wired keypads and other devices on the Control4 RS-485 system bus. Converts RS-485 communication to ethernet for usage with the panelized lighting modules and a Control4 control system. Can be installed in either a 2 or 5-Slot panel or a third-party DIN rail panel. | 125 | 250
Control4 | C4-KCB-XX | Decora Wired Keypad with Configurable Buttons Compatible with decora faceplaces. Flexible button configuration. Provides a user interface that controls any aspect of a Control4® system including lights, scene, music, security and more. All buttons are backlit and can be custom engraved. Each button includes an RGB status LED to provide visual feedback for lights, scenes or any other automation event. | 120 | 200
Control4 | C4-SKCB-XX | Square Wired Keypad with Configurable Buttons Compatible with square faceplate. Flexible button configuration. Provides a user interface that controls any aspect of a Control4® system including lights, scene, music, security and more. All buttons are backlit and can be custom engraved. Each button includes an RGB status LED to provide visual feedback for lights, scenes or any other automation event. | 120 | 200
Control4 | C4-DIN-2PAN | 2-Slot Panel Houses all centralized components of a Control4 Panelized Lighting System. DIN rail mounting for modules allows modules to easily snap on or off. Can be surface or flush mounted. | 250 | 500
Control4 | C4-DIN-5PAN | 5-Slot Panel Houses all centralized components of a Control4 Panelized Lighting System. DIN rail mounting for modules allows modules to easily snap on or off. Can be surface or flush mounted. | 375 | 750
Control4 | C4-DIN-TB-8DIM | 8-Channel Dimmer Terminal Block Supports the 8-Channel Dimmer Module. Mounts in a 2 or 5-Slot Panel and is used to terminate field wiring (Line, Neutral, and Load) for each circuit. | 35 | 70
Control4 | C4-DIN-TB-8REL | 8-Channel Relay Terminal Block Supports the 8-Channel Relay Module. Mounts in a 2 or 5-Slot Panel and is used to terminate field wiring (Line, Neutral, and Load) for each circuit. | 40 | 80
Control4 | C4-DIN-TB-PO | Power/Override Terminal Block Supports the 8-Channel 0-10V Dimmer, 8-Port Ethernet Switch and Bus Power Supply Modules. Mounts in a 2 or 5-Slot Panel and is used to terminate field wiring (Line, Neutral, and Load) for each circuit. | 12.5 | 25
Control4 | C4-DIN-SF | Panel Slot Filler, 2-Pack Fills empty slots in Control4 Panelized Lighting panels. Each 2-Pack will fill one slot in the panel. | 6 | 12
Control4 | C4-DIN-SC | Panel Security Cover Prevents access to buttons on the front of the Control Panelized Lighting modules when installed in a Control4 Panel. | 32.5 | 65
Control4 | C4-APD120-xx | Adaptive Phase Dimmer, 120V The dimmer of choice for virtually any load type. This dimmer eliminates much of the guess-work associated with choosing the right dimmer for the job and prevents the need to replace the dimmer if the load type changes in the future. Supports both forward phase (leading edge) and reverse phase (trailing edge) dimming. | 108 | 180
Control4 | C4-APD277-XX | Adaptive Phase Dimmer, 277V The dimmer of choice for virtually any load type. This dimmer eliminates much of the guess-work associated with choosing the right dimmer for the job and prevents the need to replace the dimmer if the load type changes in the future. Supports both forward phase (leading edge) and reverse phase (trailing edge) dimming. | 108 | 180
Control4 | C4-FPD120-xx | Forward Phase Dimmer, 120V Provides an economical solution for dimming forward phase compatible loads, including incandescents, line-voltage halogens, and magnetic transformers. The Forward Phase Dimmer is particularly useful when dimming high-wattage loads such as chandeliers and large banks of recessed lights. | 84 | 140
Control4 | C4-KD120-xx | Keypad Dimmer, 120V Combines the dimming capabilities of the Control4® Wireless Adaptive Phase Dimmer with the flexibility of the Control4® Wireless Configurable Keypad. Unlock the power of one-touch automation simply by replacing an existing light switch with a Keypad Dimmer. | 150 | 250
Control4 | C4-KD277-xx | Keypad Dimmer, 277V Combines the dimming capabilities of the Control4® Wireless Adaptive Phase Dimmer with the flexibility of the Control4® Wireless Configurable Keypad. Unlock the power of one-touch automation simply by replacing an existing light switch with a Keypad Dimmer. | 150 | 250
Control4 | C4-SW120277-xx | Switch, 120V/277V Provides on/off control for a variety of load types. With its robust relay and high amperage rating, the Switch can handle even high in-rush loads such as fountain pumps or large banks of fluorescent lights. | 84 | 140
Control4 | C4-4SF120-xx | Fan Speed Controller, 120V Provides elegant, quiet fan speed control of standard paddle-type ceiling fans. Allows fan speed control to be incorporated into a Control4® system for climate scheduling and other automated events. Controls a single paddle-type ceiling fan up to 2A. | 114 | 190
Control4 | C4-TV120277-xx | 0-10V Dimmer, 120V/277V Provides elegant, in-wall control of 4-wire 0-10V dimmable fluorescent ballasts and LEDs. Built-in relay provides separate on/off control of line-voltage when required. | 114 | 190
Control4 | C4-KC120277-xx | Configurable Keypad, 120V/277V An elegant and customizable user interface that unlocks the power of onetouch automation. The keypad can be configured with two to seven buttons using four different button sizes for a total of 37 possible configurations. | 120 | 200
Control4 | C4-KA-xx | Auxiliary Keypad, 120V - 277V An economical solution for 3-way control of a load. Using the existing, in-wall 3-way wiring, the Auxiliary Keypad wires directly to any compatible Control4® Dimmer, Switch, or Fan-Speed Controller. | 24 | 40
Control4 | C4-FP1-xx | Faceplate Plastic, One-Gang Elegant faceplate designed to complement the Control4 dimmers, switches, & keypads | 3.9 | 6.5
Control4 | C4-FP2-xx | Faceplate Plastic, Two-Gang Elegant faceplate designed to complement the Control4 dimmers, switches, & keypads | 5.4 | 9
Control4 | C4-FP3-xx | Faceplate Plastic, Three-Gang Elegant faceplate designed to complement the Control4 dimmers, switches, & keypads | 7.2 | 12
Control4 | C4-FP4-xx | Faceplate Plastic, Four-Gang Elegant faceplate designed to complement the Control4 dimmers, switches, & keypads | 9 | 15
Control4 | C4-SFP1-XX-1 | Square Faceplate Plastic Elegant faceplate designed to complement the Control4 Square Wired Keypad | 3.9 | 6.5
Control4 | C4-FP1-xx | Faceplate Metal, One-Gang Elegant faceplate designed to complement the Control4 dimmers, switches, & keypads | 21 | 35
Control4 | C4-FP2-xx | Faceplate Metal, Two-Gang Elegant faceplate designed to complement the Control4 dimmers, switches, & keypads | 30 | 50
Control4 | C4-FP3-xx | Faceplate Metal, Three-Gang Elegant faceplate designed to complement the Control4 dimmers, switches, & keypads | 39 | 65
Control4 | C4-FP4-xx | Faceplate Metal, Four-Gang Elegant faceplate designed to complement the Control4 dimmers, switches, & keypads | 48 | 80
Control4 | C4-CKKC-xx | Color Kit, Decora/Square Configurable Keypads Easily change the color of the C4-KC120277, C4-KC240, C4-KCB, or C4-SKCB Configurable Keypads. Includes the full button kit. | 13.2 | 22
Control4 | C4-CKKD-xx | Color Kit, Decora Keypad Dimmers Easily change the color of the C4-KD120, C4-KD240, or C4-KD277 Keypad Dimmers. Includes the full button kit. | 13.2 | 22
Control4 | C4-CKFPDAPD-xx | Color Kit, Decora Forward & Adaptive Dimmers Easily change the color of the C4-APD120, C4-APD240, C4-APD277, or C4-FPD120 Dimmers. | 4.8 | 8
Control4 | C4-CKSWITCH-XX | Color Kit, Decora Switches Easily change the color of the C4-SW120277 or C4-SW240 Switches. | 4.8 | 8
Control4 | C4-CKKA-xx | Color Kit, Decora Auxiliary Keypad Easily change the color of the C4-KA Auxiliary Keypad. | 4.8 | 8
Control4 | C4-CK4SF-xx | Color Kit, Decora Fan Speed Controller Easily change the color of the C4-4FS120 Fan Speed Controller. | 9 | 15
Control4 | C4-EBDR-xx | Engraved Button, Decora, Rocker | 3.6 | 6
Control4 | C4-EBD1H-xx | Engraved Button, Decora, Single High | 3 | 5
Control4 | C4-EBD2H-xx | Engraved Button, Decora, Double High | 3 | 5
Control4 | C4-EBD3H-xx | Engraved Button, Decora, Triple High | 3 | 5
Control4 | CCZ-T1-W | Wireless Thermostat Control of temperature from any Control4 user interface. Adjusts HVAC automatically to respond to the outside temperature, season or time of day. Supports most HVAC systems and offers up to 6 set points per day. | 149.4 | 249
Control4 | AC-DOTS1-W | Duct/Outdoor Remote Temperature Sensor Used to monitor temperature in locations not suitable for a thermostat. | 7.17 | 11.95
Control4 | AC-FMTS1-W | Flush Mount Remote Temperature Sensor Provides temperature monitoring with a virtually invisible appearance on the wall. Can be painted to match the wall. | 17.97 | 29.95
Control4 | C4-4Sight-E | 1 Year 4Sight Subscription Kit Enables remote monitoring and control of Control4 systems. | 60 | 100
Control4 | C4-CHE-XXX-E | Composer Home Edition End User Software for limited programming of Control4 system. | 89.4 | 149
Control4 | C4-OS2-Upgrade-E | 2.0 Upgrade License For customers of legacy Control4 systems with software versions prior to 2.0 wanting to get the advantages and features of the latest Control4 OS. | 239.4 | 399
Control4 | AC-POE1-B | Power Over Ethernet Injector | 29.97 | 49.95
Control4 | C4-CBL3.5-DB9B | 3.5mm to DB9 Serial Cable, 6', HC-200 & HC-250 | 11.4 | 19
Control4 | C4-CBLIR-BULK | IR Emmitters - 5 Pack | 19.99 | 39
Control4 | C4-CBLIRF-BULK | IR Emmitters with optical feedback- 5 Pack | 19.99 | 39
Control4 | C4-BPLUG8 | Banana Plug 8 Pack Kit | 23 | 46
Control4 | C4-5IETOMTSAK-BL | 5" Touch Screen Adapter Kit for Mini Touch, Black | 29.4 | 49
Control4 | C4-5IETOMTSAK-WH | 5" Touch Screen Adapter Kit for Mini Touch, White | 29.4 | 49
Control4 | C4-TSMC7-DOCK | 7" Portable Touch Screen with Camera Dock | 89.4 | 149
Control4 | C4-BAT71-D | 7" Portable Touch Screen Battery, Gen 1 Version Only | 77.4 | 129
Control4 | C4-7IETO7AK-BL | 7" Touch Screen Adapter kit for C4-TSWM7, Black | 29.4 | 49
Control4 | C4-7IETO7AK-WH | 7" Touch Screen Adapter kit for C4-TSWM7, White | 29.4 | 49
Control4 | C4-7IETOMTSAK-BL | 7" Touch Screen Adapter Kit for Mini Touch, Black | 17.4 | 29
Control4 | C4-7IETOMTSAK-WH | 7" Touch Screen Adapter Kit for Mini Touch, White | 17.4 | 29
Control4 | C4-7V2TOMT-XX | 7" Touch Screen V2 with Camera Adapter Kit for Mini Touch | 17.4 | 29
Control4 | C4-NWB57C-P | Plastic, New Construction - Control 4 In-Wall Touch Screen Back Box | 5.99 | 9.99
Control4 | C4-NWB57C-M | Metal, New Construction - Control 4 In-Wall Touch Screen Back Box | 11.99 | 19.99
Control4 | C4-RWB57C-P | Plastic, Retrofit - Control 4 In-Wall Touch Screen Back Box | 5.99 | 9.99
Control4 | C4-RWB57C-M | Metal, Retrofit - Control 4 In-Wall Touch Screen Back Box | 11.99 | 19.99
Control4 | C4-DSBB-M | Door Station Metal Back Box | 12 | 20
Control4 | C4-1URMK2-B | 1U Rack Mount Kit, Two HC-200s, Shelf, No Vent | 11.99 | 19.5
Control4 | C4-1URMK2B-B | 1U Rack Mount Kit, Dual HC250, Shelf, No Vent, Black | 23.4 | 39
Control4 | C4-2URMK-B | 2U Rack Mount Kit, HC-300 | 11.99 | 19.5
Control4 | C4-3URMK-B | 3U Rack Mount Kit, Vented | 23.97 | 39
Control4 | C4-4URMK-B | 4U Rack Mount Kit, Vented | 23.97 | 39
Control4 | C4-3URMK-NV-B | 3U Rack Mount Kit, No Vent | 23.97 | 39
Control4 | C4-4URMK-NV-B | 4U Rack Mount Kit, No Vent | 23.97 | 39
Control4 | C4-MP2URMK-B | 2U Rack Mount Kit, One Media Player, No Vent Black | 23.97 | 39
Control4 | C4-1UREK-BL | HC-800 Rack Ear Kit | 23.4 | 39
Control4 | C4-AK-3M | 3-meter Wireless Antenna Kit WiFi/ZigBee | 12 | 20
Control4 | C4-AK-26cm | 26-centimeter Wireless Antenna Kit WiFi/Zigbee | 6 | 10
Control4 | C4-LCS1 | Lighting Color Swatch Display, 3" x 5" | 7 | 17
Control4 | C4-NWA11G-USB | USB WiFi Network Adaptor Adds WiFi (802.11g) capability to the HC-300 and HC-500 Home Controllers. | 41.4 | 69
Card Access | ZCA-ECM10A | External Flange Mount Contact Magnet Compatible with Card Access Wireless Contact Switch. Includes self-stick mounting adhesive. | 1.17 | 1.95
Card Access | ZCA-ECS10A | External Flange Mount Contact Switch Compatible with Card Access Wireless Contact Switch. Includes self-stick mounting adhesive. | 2.37 | 3.95
Card Access | ZCA-EXT10A | External Thermistor Air/Liquid temperature sensor. 15-foot zip-wire lead. Temperature range: -31˚F ~176˚ F. Submersible. Compatible with Card Access Wireless Contact Switch. | 7.17 | 11.95
Card Access | ZCA-GCO10A | Wireless Carbon Monoxide Detector Requires a Card Access Sensor Bridge to program in Composer. Plugs into standard AC outlet. Red light and siren used to warn of gas detection. | 114 | 179
Card Access | ZCA-GMS10A | Wireless Micro Door/Window Sensor Requires a Card Access Sensor Bridge to program in Composer. Battery operated. | 45 | 70
Card Access | ZCA-GPB10A | Wireless Water-Resistant Panic Pendant Requires a Card Access Sensor Bridge to program in Composer. Water-resistant. Can be worn as belt-clip or pendant. Mounting adapters also available. | 48 | 80
Card Access | ZCA-GRS10A | Wireless Recessed Micro Door/Window Sensor Requires a Card Access Sensor Bridge to program in Composer. Designed to be concealed. | 48 | 75
Card Access | ZCA-GSD10A | Wireless Smoke Detector Requires the Card Access Sensor Bridge to program in Composer. | 83.4 | 129
Card Access | ZCA-HPC10A-ZP | Heavy-Duty Power Controller (External Antenna) Designed to automate high voltage systems. Controls motors, resisitve loads or ballast type loads. Includes 2 100-240VAC 30 Amp relays. Power input can be 100-240VAC OR 12VDC. | 251.4 | 369
Card Access | ZCA-IDP10B-ZP | Doorbell and Phone Event Package Includes 2 Wireless Contact Switches, 1 external power supply, 1 ELK-930 Doorbell and Phone Ring Detector. | 237 | 359
Card Access | ZCA-ILD10B-B-ZP | Water Leak Detection Package-Battery-Powered Version Includes 1 Wireless Contact Switch, 2 AA batteries, 1 GRI 2826FS, 1 batter-powered relay switch, 2 leak detection probes, 1 customer battery module. | 143.4 | 219
Card Access | ZCA-ILD10B-L-ZP | Water Leak Detection Package-Line-Powered Version 1 Wireless Contact Switch, 2 AA batteries, 1 12V DC power supply, 1 GRI2600T, 1 line-powered relay switch, 2 leak detection probes. | 149.4 | 229
Card Access | ZCA-IMR10A5PK-ZP | Mini remote 5-Pack Includes 5 Card Access Mini Remotes. Battery powered (2 AAA). 1 year battery life. Water-resistant. 5 programmable buttons. Hold button which locks buttons to prevent accidental key presses. ZigBee | 447 | 659
Card Access | ZCA-IMR10A-ZP | Mini remote Single Pack Battery powered (2 AAA). 1 year battery life. Water-resistant. 5 programmable buttons. Hold button which locks buttons to prevent accidental key presses. ZigBee | 89.4 | 139
Card Access | ZCA-MPA10A | In Home Wireless Motion Sensor Power Adaptor Compatible with the Card Access Wireless Motion Sensor. Can also be powered by the Card Access 12V DC External Power Supply. 9-24V AC/DC | 14.97 | 19.99
Card Access | ZCA-NEP10C | North American 12V DC Power Supply Compatible with the Card Access Home Automation product family. Converts 120V AC input to 12V DC 500 mA output. 12 foot long cable. | 8.97 | 14.95
Card Access | ZCA-RMC10A | Rail Mounted Garage Door Contact For use with the Card Access Wireless Contact Switch to monitor the state of a garage door. Designed for panel or sectional systle overhead doors. Includes stainless stell cable enclosed wire leads. Made of rugged extruded aluminum. | 34.2 | 57
Card Access | ZCA-SGP10A-2D-ZP | Smart Garage Package Deluxe (up to 2 Garage Doors with Smart Lighting) Includes 1 Wireless Contact Sensor, 1 Wireless Contact Relay, 1 12V External Power Supply, 1 Mini Remote, 1 External Thermistor, 2 Rail Mount Contacts, 1 Wall-Mount Motion Sensor | 450 | 699
Card Access | ZCA-SGP10A-2-ZP | Smart Garage Package (up to 2 Garage Doors) Includes 1 Wireless Contact Sensor, 1 Wireless Contact Relay, 1 12V External Power Supply, 1 Mini Remote, 1 External Thermistor, 2 Rail Mount Contacts | 354 | 539
Card Access | ZCA-SGP10A-4D-ZP | Smart Garage Package Deluxe (up to 4 Garage Doors with Smart Lighting) Includes 2 Wireless Contact Sensors, 2 Wireless Contact Relays, 2 12V External Power Supplies, 2 Mini Remotes, 1 External Thermistor, 4 Rail mount Contacts, 2 Wall-Mount Motion Sensors | 882 | 1369
Card Access | ZCA-SGP10A-4-ZP | Smart Garage Package (up to 4 Garage Doors) 2 Wireless Contact Sensors, 2 Wireless Contact Relays, 2 12V External Power Supplies, 2 Mini Remotes, 1 External Thermistor, 4 Rail Mount Contacts | 690 | 1049
Card Access | ZCA-SPS10A | Smart Pressure Sensor ZigBee Pro. Must be used with Card Access Wireless Contact Sensor. | 53.4 | 89
Card Access | ZCA-WCS10A-2-10PK-ZP | Wireless Contact Sensor 10-Pack (Internal Antenna) Includes 10 Wireless Contact Sensors. ZigBee Pro. Integrated reed switch. Integrated temperature sensor. Designed to be wall-mounted. Includes 4 wall-mounting screws and 4 plastic dry wall anchors. | 894 | 1269
Card Access | ZCA-WCS10A-2-ZP | Wireless Contact Sensor (Internal Antenna) ZigBee Pro. Integrated reed switch. Integrated temperature sensor. Designed to be wall-mounted. Includes 4 wall-mounting screws and 4 plastic dry wall anchors. | 89.4 | 139
Card Access | ZCA-WCS10B-2-10PK-ZP | Wireless Contact Sensor 10-Pack (External Antenna) Includes 10 Wireless Contact Sensors with External Antennas. ZigBee Pro. Integrated reed switch. Integrated temperature sensor. Designed to be wall-mounted. Includes 4 wall-mounting screws and 4 plastic dry wall anchors. | 1014 | 1459
Card Access | ZCA-WCS10B-2-ZP | Wireless Contact Sensor (External Antenna) ZigBee Pro. Integrated reed switch. Integrated temperature sensor. Designed to be wall-mounted. Includes 4 wall-mounting screws and 4 plastic dry wall anchors. | 101.4 | 159
Card Access | ZCA-WCS10-R-10PK-ZP | Wireless Contact Relay 10-Pack (Internal Antenna) Includes 10 Wireless Contact Relays. Built-in ZigBee repeater. Includes magnetic contact sensor. Built-in temperature sensor. Includes two contact relays. | 930 | 1329
Card Access | ZCA-WCS10-REXT10PKZP | Wireless Contact Relay 10-Pack (External Antenna) Includes 10 Wireless Contact Relays with External Antennas. Built-in ZigBee repeater. Includes magnetic contact sensor. Built-in temperature sensor. Includes two contact relays. | 1074 | 1519
Card Access | ZCA-WCS10-R-EXT-ZP | Wireless Contact Relay (External Antenna) Built-in ZigBee repeater. Includes magnetic contact sensor. Built-in temperature sensor. Includes two contact relays. | 107.4 | 165
Card Access | ZCA-ZXT30 | ZigBee Extender 3 Helps with "parent-child" device ratios, routing vs. non-routing nodes. Helps eliminate mesh network dead spots. Increases the size and density of ZigBee mesh. Supports up to 64 nodes. Extends ZigBee mesh up to 900 feet line of sight | 95.4 | 159
Card Access | ZCA-ZXT30-10PK | ZigBee Extender 3 10-Pack Helps with "parent-child" device ratios, routing vs. non-routing nodes. Helps eliminate mesh network dead spots. Increases the size and density of ZigBee mesh. Supports up to 64 nodes. Extends ZigBee mesh up to 900 feet line of sight | 900 | 1590
Card Access | ZCA-WCS10-R-ZP | Wireless Contact Relay (Internal Antenna) Built-in ZigBee repeater. Includes magnetic contact sensor. Built-in temperature sensor. Includes two contact relays. | 93 | 145
Card Access | ZCA-WMS10-2-10PK-ZP | Wireless Motion Sensor 10-Pack (Internal Antenna) includes 10 Wireless Motion Sensors. Motion and light level sensor. ZigBee Pro. Includes 9V battery, 4 wall-mounting screws, 4 plastic dry wall anchors. | 1092 | 1549
Card Access | ZCA-WMS10-2EXT10PKZP | Wireless Motion Sensor 10-Pack (External Antenna) Includes 10 Wireless Motion Sensors. Motion and light level sensor. ZigBee Pro. Includes 9V battery, 4 wall-mounting screws, 4 plastic dry wall anchors. | 1194 | 1739
Card Access | ZCA-WMS10-2EXT-ZP | Wireless Motion Sensor (External Antenna) Motion and light level sensor. ZigBee Pro. Includes 9V battery, 4 wall-mounting screws, 4 plastic dry wall anchors. | 119.4 | 189
Card Access | ZCA-WMS10-2L-ZP | Wireless Motion Sensor-Line Powered (Internal Antenna) Motion and light level sensor. ZigBee Pro. Includes Wireless Motion Sensor Power Adapter, 4 wall-mounting screws, 4 plastic dry wall anchors. | 119.4 | 189
Card Access | ZCA-WMS10-2-ZP | Wireless Motion Sensor (Internal Antenna) Motion and light level sensor. ZigBee Pro. Includes 9V battery, 4 wall-mounting screws, 4 plastic dry wall anchors. | 109.2 | 169
Card Access | ZCA-WMS10-C-10PK-ZP | Ceiling-Mount Wireless Motion Sensor 10-Pack Includes 10 Ceiling-Mount Wireless Motion Sensors. Motion and light level sensor. ZigBee Pro. Includes 9V battery, 4 mounting screws, 4 plastic dry wall anchors. | 1092 | 1549
Card Access | ZCA-WMS10-CL-ZP | Ceiling-Mount Wireless Motion Sensor-Line Powered Motion and light level sensor. ZigBee Pro. Includes Wireless Motion Sensor Power Adapter, 4 mounting screws, 4 plastic dry wall anchors. | 119.4 | 189
Card Access | ZCA-WMS10-C-ZP | Ceiling-Mount Wireless Motion Sensor Motion and light level sensor. ZigBee Pro. Includes 9V battery, 4 mounting screws, 4 plastic dry wall anchors. | 109.2 | 169
Card Access | ZCA-WPS10A-ZP | Wireless Smart Pressure Sensor Package (Includes Contact Sensor) Includes 1 Smart Pressure Sensor, 1 Wireless Contact Sensor, 2 AA batteries | 137.4 | 224
Card Access | ZCA-ZGB20A-ZP | Security Sensor Bridge V2 Receives signals from GE wireless sensors, bridges their signals to the Control4 system via ZigBee Pro. Includes self-contained, wall-mountable bridge, 12V DC power adapter. Also acts as a ZigBee extender. | 171 | 269
Card Access | ZCA-SUB10A-ZP | Card Access Sub-Zero/Wolf Smart Appliance Module Compatible with Sub-Zero BI Series Refrigerators. Works in conjunction with Smart Appliance 4Store Application. | 179.4 | 299
Card Access | ZCA-Z2IR10A-ZP | ZigBee-to-IR Module for Control4 Includes 2 IR emitters, 110-220VAC-to-USB power module, 2 meter USB cable, adhesive strip to attached module to target device. Add IR control without running wires back to a Control4 Controller. | 89.4 | 149
Card Access | ZCA-Z2IR10A-ZP-10P | ZigBee-to-IR Module for Control4 10 Pack Includes 10 ZigBee-to-IR Modules. Includes 2 IR emitters, 110-220VAC-to-USB power module, 2 meter USB cable, adhesive strip to attached module to target device. Add IR control without running wires back to a Control4 Controller. | 849.3 | 1490
Nyce Control | NCZ-3011 | Nyce Control Door/Window Contact Switch | 53.4 | 89
Nyce Control | NCZ-3041 | Nyce Control Motion Sensor | 101.4 | 169
Nyce Control | NCZ-3043 | Nyce Control Ceiling Motion Sensor | 101.4 | 169
Nyce Control | NCZ-3014 | Nyce Control Garage Door Sensor | 53.4 | 89
Nyce Control | NCZ-3201 | Nyce Control 3-Button Keyfob | 53.4 | 89
Nyce Control | NCZ-3202-4 | Nyce Control 4-Button Keyfob | 53.4 | 89
Baldwin | C4-BBDBKP-Z-ORB | Baldwin, Boulder Zigbee Deadbolt, With Keypad, Oil Rubbed Bronze Designed for use with Baldwin Boulder Sectional Handleset. | 367.25 | 565
Baldwin | C4-BBDBK-Z-ORB | Baldwin, Boulder Zigbee Deadbolt Kit, Without Keypad, Oil Rubbed Bronze Designed for use with Baldwin Boulder 3/4 Escutcheon Handleset. Provides smart lock functionality without the keypad on the front of the door. | 367.25 | 565
Baldwin | C4-BBSHR-ORB | Baldwin, Boulder Sectional Handleset Entry Kit, Right Hand, Oil Rubbed Bronze This handleset is meant as an accessory, you must purchase the matching Baldwin Boulder ZigBee Deadbolt to integrate into Control4 systems. | 217.75 | 335
Baldwin | C4-BBSHL-ORB | Baldwin, Boulder Sectional Handleset Entry Kit, Left Hand, Oil Rubbed Bronze This handleset is meant as an accessory, you must purchase the matching Baldwin Boulder ZigBee Deadbolt to integrate into Control4 systems. | 217.75 | 335
Baldwin | C4-BBESR-ORB | Baldwin, Boulder 3/4 Escutcheon Handleset Entry Kit, Right Hand, Oil Rubbed Bronze This handleset is meant as an accessory, you must purchase the matching Baldwin Boulder ZigBee Deadbolt to integrate into Control4 systems. | 331.5 | 510
Baldwin | C4-BBESL-ORB | Baldwin, Boulder 3/4 Escutcheon Handleset Entry Kit, Left Hand, Oil Rubbed Bronze This handleset is meant as an accessory, you must purchase the matching Baldwin Boulder ZigBee Deadbolt to integrate into Control4 systems. | 331.5 | 510
Baldwin | C4-BBDBKP-Z-LPB | Baldwin, Boulder Zigbee Deadbolt, With Keypad, Lifetime Polished Brass Designed for use with Baldwin Boulder Sectional Handleset. | 386.75 | 595
Baldwin | C4-BBDB-Z-LPB | Baldwin, Boulder Zigbee Deadbolt Kit, Without Keypad, Lifetime Polished Brass Designed for use with Baldwin Boulder 3/4 Escutcheon Handleset. Provides smart lock functionality without the keypad on the front of the door. | 386.75 | 595
Baldwin | C4-BSDBKP-Z-LSN | Baldwin, SOHO Zigbee Deadbolt, With Keypad, Lifetime Satin Nickel Designed for use with Baldwin SOHO Sectional Handleset. | 386.75 | 595
Baldwin | C4-BSDBKP-Z-SC | Baldwin, SOHO Zigbee Deadbolt, With Keypad, Satin Chrome Designed for use with Baldwin SOHO Sectional Handleset. | 367.25 | 565
Baldwin | C4-BSDBKP-Z-PC | Baldwin, SOHO Zigbee Deadbolt, With Keypad, Polished Chrome Designed for use with Baldwin SOHO Sectional Handleset. | 367.25 | 565
Baldwin | C4-BSDB-Z-LSN | Baldwin, SOHO Zigbee Deadbolt Kit, Without Keypad, Lifetime Satin Nickel Designed for use with Baldwin SOHO 3/4 Escutcheon Handleset. Provides smart lock functionality without the keypad on the front of the door. | 386.75 | 595
Baldwin | C4-BSDB-Z-SC | Baldwin, SOHO Zigbee Deadbolt Kit, Without Keypad, Satin Chrome Designed for use with Baldwin SOHO 3/4 Escutcheon Handleset. Provides smart lock functionality without the keypad on the front of the door. | 367.25 | 565
Baldwin | C4-BSDB-Z-PC | Baldwin, SOHO Zigbee Deadbolt Kit, Without Keypad, Polished Chrome Designed for use with Baldwin SOHO 3/4 Escutcheon Handleset. Provides smart lock functionality without the keypad on the front of the door. | 367.25 | 565
Baldwin | C4-BBSHR-Z-LPB | Baldwin, Boulder Sectional Handleset Entry Kit, Right Hand, Lifetime Polished Brass This handleset is meant as an accessory, you must purchase the matching Baldwin Boulder ZigBee Deadbolt to integrate into Control4 systems. | 227.5 | 350
Baldwin | C4-BBSHL-Z-LPB | Baldwin, Boulder Sectional Handleset Entry Kit, Left Hand, Lifetime Polished Brass This handleset is meant as an accessory, you must purchase the matching Baldwin Boulder ZigBee Deadbolt to integrate into Control4 systems. | 227.5 | 350
Baldwin | C4-BBESR-Z-LPB | Baldwin, Boulder 3/4 Escutcheon Handleset Entry Kit, Right Hand, Lifetime Polished Brass This handleset is meant as an accessory, you must purchase the matching Baldwin Boulder ZigBee Deadbolt to integrate into Control4 systems. | 347.75 | 535
Baldwin | C4-BBESL-Z-LPB | Baldwin, Boulder 3/4 Escutcheon Handleset Entry Kit, Left Hand, Lifetime Polished Brass This handleset is meant as an accessory, you must purchase the matching Baldwin Boulder ZigBee Deadbolt to integrate into Control4 systems. | 347.75 | 535
Baldwin | C4-BSSHR-Z-LSN | Baldwin, Soho Sectional Handleset Entry Kit, Right Hand, Lifetime Satin Nickel This handleset is meant as an accessory, you must purchase the matching Baldwin SOHO ZigBee Deadbolt to integrate into Control4 systems. | 227.5 | 350
Baldwin | C4-BSSHR-Z-SC | Baldwin, Soho Sectional Handleset Entry Kit, Right Hand, Satin Chrome This handleset is meant as an accessory, you must purchase the matching Baldwin SOHO ZigBee Deadbolt to integrate into Control4 systems. | 217.75 | 335
Baldwin | C4-BSSHR-Z-PC | Baldwin, Soho Sectional Handleset Entry Kit, Right Hand, Polished Chrome This handleset is meant as an accessory, you must purchase the matching Baldwin SOHO ZigBee Deadbolt to integrate into Control4 systems. | 217.75 | 335
Baldwin | C4-BSSHL-Z-LSN | Baldwin, Soho Sectional Handleset Entry Kit, Left Hand, Lifetime Satin Nickel This handleset is meant as an accessory, you must purchase the matching Baldwin SOHO ZigBee Deadbolt to integrate into Control4 systems. | 227.5 | 350
Baldwin | C4-BSSHL-Z-SC | Baldwin, Soho Sectional Handleset Entry Kit, Left Hand, Satin Chrome This handleset is meant as an accessory, you must purchase the matching Baldwin SOHO ZigBee Deadbolt to integrate into Control4 systems. | 217.75 | 335
Baldwin | C4-BSSHL-Z-PC | Baldwin, Soho Sectional Handleset Entry Kit, Left Hand, Polished Chrome This handleset is meant as an accessory, you must purchase the matching Baldwin SOHO ZigBee Deadbolt to integrate into Control4 systems. | 217.75 | 335
Baldwin | C4-BSESR-Z-LSN | Baldwin, Soho 3/4 Escutcheon Handleset Entry Kit, Right Hand, Lifetime Satin Nickel This handleset is meant as an accessory, you must purchase the matching Baldwin SOHO ZigBee Deadbolt to integrate into Control4 systems. | 347.75 | 535
Baldwin | C4-BSESR-Z-SC | Baldwin, Soho 3/4 Escutcheon Handleset Entry Kit, Right Hand, Satin Chrome This handleset is meant as an accessory, you must purchase the matching Baldwin SOHO ZigBee Deadbolt to integrate into Control4 systems. | 331.5 | 510
Baldwin | C4-BSESR-Z-PC | Baldwin, Soho 3/4 Escutcheon Handleset Entry Kit, Right Hand, Polished Chrome This handleset is meant as an accessory, you must purchase the matching Baldwin SOHO ZigBee Deadbolt to integrate into Control4 systems. | 331.5 | 510
Baldwin | C4-BSESL-Z-LSN | Baldwin, Soho 3/4 Escutcheon Handleset Entry Kit, Left Hand, Lifetime Satin Nickel This handleset is meant as an accessory, you must purchase the matching Baldwin SOHO ZigBee Deadbolt to integrate into Control4 systems. | 347.75 | 535
Baldwin | C4-BSESL-Z-SC | Baldwin, Soho 3/4 Escutcheon Handleset Entry Kit, Left Hand, Satin Chrome This handleset is meant as an accessory, you must purchase the matching Baldwin SOHO ZigBee Deadbolt to integrate into Control4 systems. | 331.5 | 510
Baldwin | C4-BSESL-Z-PC | Baldwin, Soho 3/4 Escutcheon Handleset Entry Kit, Left Hand, Polished Chrome This handleset is meant as an accessory, you must purchase the matching Baldwin SOHO ZigBee Deadbolt to integrate into Control4 systems. | 331.5 | 510
Kwikset | C4-KSDB-Z-PB | Kwikset, SmartCode Keyless Entry, Deadbolt, ZigBee, Polished Brass | 226.85 | 349
Kwikset | C4-KSDB-Z-SN | Kwikset, SmartCode Keyless Entry, Deadbolt, ZigBee, Satin Nickel | 226.85 | 349
Kwikset | C4-KSDB-Z-VB | Kwikset, SmartCode Keyless Entry, Deadbolt, ZigBee, Venetian Bronze | 226.85 | 349
Kwikset | C4-KSLL-Z-PB | Kwikset, SmartCode Keyless Entry, Lever Lock, Zigbee, Polished Brass | 226.85 | 349
Kwikset | C4-KSLL-Z-SN | Kwikset, SmartCode Keyless Entry, Lever Lock, Zigbee, Satin Nickel | 226.85 | 349
Kwikset | C4-KSLL-Z-VB | Kwikset, SmartCode Keyless Entry, Lever Lock, Zigbee, Venetian Bronze | 226.85 | 349
Kwikset | C4-KSCDB-Z-SN | Kwikset, SmartCode Keyless Entry, Contemporary (Square) Dead Bolt, ZigBee, Satin Nickel | 226.85 | 349
Kwikset | C4-KSCDB-Z-SC | Kwikset, SmartCode Keyless Entry, Contemporary (Square) Dead Bolt, ZigBee, Satin Chrome | 226.85 | 349
Kwikset | C4-KSCDB-Z-PC | Kwikset, SmartCode Keyless Entry, Contemporary (Square) Dead Bolt, ZigBee, Pol. Chrome | 226.85 | 349
Kwikset | C4-KSMOUNT | Kwiset Display Plaque Without Lock (Compatible with lever or deadbolt). | 79.97 | 79.97
Kwikset | C4-KSLK-PB | Kwikset Canadian Latch Kit, Polished Brass Allows Kwikset locks to be compatible with unique requirements of some Canadian doors. | 24.5 | NA
Kwikset | C4-KSLK-SN | Kwikset Canadian Latch Kit, Satin Nickel Allows Kwikset locks to be compatible with unique requirements of some Canadian doors. | 24.5 | NA
Kwikset | C4-KSLK-VB | Kwikset Canadian Latch Kit, Venetian Bronze Allows Kwikset locks to be compatible with unique requirements of some Canadian doors. | 24.5 | NA
Baldwin | C4-BBESR-Z-VB | Baldwin, Boulder 3/4 Escutcheon Handleset Entry Kit, Right Hand, Venetian Bronze This handleset is meant as an accessory, you must purchase the matching Baldwin Boulder ZigBee Deadbolt to integrate into Control4 systems. | 331.5 | 510
Baldwin | C4-BBESL-Z-VB | Baldwin, Boulder 3/4 Escutcheon Handleset Entry Kit, Left Hand, Venetian Bronze This handleset is meant as an accessory, you must purchase the matching Baldwin Boulder ZigBee Deadbolt to integrate into Control4 systems. | 331.5 | 510
Baldwin | C4-BBESR-DORB | Baldwin, Boulder 3/4 Escutcheon Handleset Entry Kit, Right Hand, Distressed Oil Rubbed Bronze This handleset is meant as an accessory, you must purchase the matching Baldwin Boulder ZigBee Deadbolt to integrate into Control4 systems. | 347.75 | 535
Baldwin | C4-BBESL-DORB | Baldwin, Boulder 3/4 Escutcheon Handleset Entry Kit, Left Hand, Distressed Oil Rubbed Bronze This handleset is meant as an accessory, you must purchase the matching Baldwin Boulder ZigBee Deadbolt to integrate into Control4 systems. | 347.75 | 535
Baldwin | C4-BBSHR-Z-VB | Baldwin, Boulder Sectional Handleset Entry Kit, Right Hand, Venetian Bronze This handleset is meant as an accessory, you must purchase the matching Baldwin Boulder ZigBee Deadbolt to integrate into Control4 systems. | 217.75 | 335
Baldwin | C4-BBSHL-Z-VB | Baldwin, Boulder Sectional Handleset Entry Kit, Left Hand, Venetian Bronze This handleset is meant as an accessory, you must purchase the matching Baldwin Boulder ZigBee Deadbolt to integrate into Control4 systems. | 217.75 | 335
Baldwin | C4-BBSHR-DORB | Baldwin, Boulder Sectional Handleset Entry Kit, Right Hand, Distressed Oil Rubbed Bronze This handleset is meant as an accessory, you must purchase the matching Baldwin Boulder ZigBee Deadbolt to integrate into Control4 systems. | 227.5 | 350
Baldwin | C4-BBSHL-DORB | Baldwin, Boulder Sectional Handleset Entry Kit, Left Hand, Distressed Oil Rubbed Bronze This handleset is meant as an accessory, you must purchase the matching Baldwin Boulder ZigBee Deadbolt to integrate into Control4 systems. | 227.5 | 350
Baldwin | C4-BSESR-SN | Baldwin, Soho 3/4 Escutcheon Handleset Entry Kit, Right Hand, Satin Nickel This handleset is meant as an accessory, you must purchase the matching Baldwin SOHO ZigBee Deadbolt to integrate into Control4 systems. | 331.5 | 510
Baldwin | C4-BSESL-SN | Baldwin, Soho 3/4 Escutcheon Handleset Entry Kit, Left Hand, Satin Nickel This handleset is meant as an accessory, you must purchase the matching Baldwin SOHO ZigBee Deadbolt to integrate into Control4 systems. | 331.5 | 510
Baldwin | C4-BBDB-Z-VB | Baldwin, Boulder Zigbee Deadbolt Kit, Without Keypad, Venetian Bronze Designed for use with Baldwin Boulder 3/4 Escutcheon Handleset. Provides smart lock functionality without the keypad on the front of the door. | 367.25 | 565
Baldwin | C4-BBDB-Z-DORB | Baldwin, Boulder Zigbee Deadbolt Kit, Without Keypad, Distressed Oil Rubbed Bronze Designed for use with Baldwin Boulder 3/4 Escutcheon Handleset. Provides smart lock functionality without the keypad on the front of the door. | 386.75 | 595
Baldwin | C4-BSSER-SN | Baldwin, Soho Sectional Handleset Entry Kit, Right Hand, Satin Nickel This handleset is meant as an accessory, you must purchase the matching Baldwin SOHO ZigBee Deadbolt to integrate into Control4 systems. | 217.75 | 335
Baldwin | C4-BSSEL-SN | Baldwin, Soho Sectional Handleset Entry Kit, Left Hand, Satin Nickel This handleset is meant as an accessory, you must purchase the matching Baldwin SOHO ZigBee Deadbolt to integrate into Control4 systems. | 217.75 | 335
Baldwin | C4-BSDB-Z-SN | Baldwin, Soho Zigbee Deadbolt Kit, Without Keypad, Satin Nickel Designed for use with Baldwin SOHO 3/4 Escutcheon Handleset. Provides smart lock functionality without the keypad on the front of the door. | 367.25 | 565
Baldwin | C4-BBDBKP-Z-VB | Baldwin, Boulder Zigbee Deadbolt, With Keypad, Venetian Bronze Designed for use with Baldwin Boulder Sectional Handleset. | 367.25 | 565
Baldwin | C4-BBDBKP-Z-DORB | Baldwin, Boulder Zigbee Deadbolt, With Keypad, Distressed Oil Rubbed Bronze Designed for use with Baldwin Boulder Sectional Handleset. | 386.75 | 595
Baldwin | C4-BSDBKP-Z-SN | Baldwin, Soho Zigbee Deadbolt, With Keypad, Satin Nickel Designed for use with Baldwin SOHO Sectional Handleset. | 367.25 | 565
Baldwin | C4-BHSMOUNT | Baldwin Display Plaque Does NOT come with a lock. Designed to display any Baldwin Zigbee Deadbolt + Handleset together. | 118.35 | 118.35